## Content
SGN LTDS forecasts data workbook
How to Use:
This workbook has been created to complement SGN Long Term Delevopment Statement 2025 publication by providing structured data across key areas of gas demand forecasting.
Forecasts are presented on a year-by-year basis through to 2034/35. Data is grouped by UNC load band categories and LDZ. It relates exclusively to gas transported through SGN system.
The workbook is protected to prevent accidental changes to data. Please use the read-only version for reference; any updates or edits should be made through the designated contact point.
If you have questions or require clarification on any section, please refer to the LTDS publication or contact the LTDS team directly at network.capacity@sgn.co.uk
Workbook Contents:
Tab | Item number | Item Name
1. Annual Demand Overview | 1.1 | Historic and forecast annual demand - SGN overall
| 1.2 | Historic and forecast annual demand - Scotland LDZ
| 1.3 | Historic and forecast annual demand - Southern LDZs
| 1.4 | Change in annual demand (2025 - 2034)
2. Peak Day Demand Oveview | 2.1 | Historic and forecast peak day demand - SGN overall
| 2.2 | Historic and forecast peak day demand - Scotland LDZ
| 2.3 | Historic and forecast peak day demand - Southern LDZs
| 2.4 | Change in peak demand (2025 - 2034)
3. Forecast Comparisons | 3.1 | Peak day demand comparison - Scotland LDZ (GWh)
| 3.2 | Peak day demand comparison - South East LDZ (GWh)
| 3.3 | Peak day demand comparison - South LDZ (GWh)
4. Annual Demand Forecast - tables | 4.1 | Annual demand forecast by load category - SGN overall (TWh)
| 4.2 | Annual demand forecast by load category - Scotland LDZ (TWh)
| 4.3 | Annual demand forecast by load category - South East LDZ (TWh)
| 4.4 | Annual demand forecast by load category - South LDZ (TWh)
5. Peak Demand Forecast - tables | 5.1 | Peak day demand forecast - at a glance (GWh)
| 5.2 | Peak day demand forecast by load category - SGN overall (GWh)
| 5.3 | Peak day demand forecast by load category - Scotland LDZ (GWh)
| 5.4 | Peak day demand forecast by load category - South East LDZ (GWh)
| 5.5 | Peak day demand forecast by load category - South LDZ (GWh)
6. Actual Annual Demand Flows | 6.1 | Annual demand for 2024 - Scotland LDZ (TWh)
| 6.2 | Annual demand for 2024 - South East LDZ (TWh)
| 6.3 | Annual demand for 2024 - South LDZ (TWh)
7. Winter Severity Statistics | 7.1 | 1 in X winter severities per LDZ
8. Maximum and Minimum Flows | 8.1 | Maximum and minimum flows - actual demand (gas year 2024/2025)
| 8.2 | Maximum and minimum flows - % of a peak day demand forecast (gas year 2024/2025)
9. Biomethane Sites | 9.1 | Portfolio of Biomethane sites (August 2025)
10. Major Projects <7bar | 10.1 | <7 bar Major Projects under construction - Scotland LDZ
| 10.2 | <7 bar Major Projects under construction - South LDZ
| 10.3 | <7 bar Major Projects under construction - South East LDZ
| 10.4 | <7 bar Major Projects under consideration - Scotland LDZ
| 10.5 | <7 bar Major Projects under consideration - South LDZ
| 10.6 | <7 bar Major Projects under consideration - South East LDZ
| 10.7 | <7 bar Major Projects with low probability of progressing
11. Major Projects <7bar | 11.1 | >7 bar Major Projects under construction - Scotland LDZ
| 11.2 | >7 bar Major Projects under construction - South LDZ
| 11.3 | >7 bar Major Projects under construction - South East LDZ
| 11.4 | >7 bar Major Projects under consideration - Scotland LDZ
| 11.5 | >7 bar Major Projects under consideration - South LDZ
| 11.6 | >7 bar Major Projects under consideration - South East LDZ
| 11.7 | >7 bar Major Projects with low probability of progressing

## 1. Annual Demand Overview
Annual Demand Overview
1.1 Annual Demand Overview - historical and forecasted (GWh)
Calendar year | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
SGN total | 145883.8831 | 139679.7807 | 141989.2374 | 145658.5284 | 144433.7295 | 141474.7898 | 139647.1614 | 141332.2208 | 140829.5853 | 132274.8697 | 126470.4617 | 131004.0033 | 137996.6091 | 141588.8513 | 142932.418 | 146452.4696 | 147943.3607 | 147799.5706 | 148102.2686 | 148608.4735 | 149235.289 | 149888.388
Scotland LDZ | 51260.4383 | 49525.0978 | 48570.6431 | 49767.0303 | 48443.5142 | 48159.3489 | 47761.158 | 48038.5419 | 47597.3898 | 44966.5334 | 42613.1882 | 44890.6697 | 45764.1124 | 46400.2245 | 47085.5195 | 48061.8907 | 48212.498 | 48091.3371 | 48235.3644 | 48398.5449 | 48633.5132 | 48884.4981
Southern LDZs | 94623.4448 | 90154.6829 | 93418.5943 | 95891.4981 | 95990.2153 | 93315.4409 | 91886.0034 | 93293.6789 | 93232.1955 | 87308.3363 | 83857.2735 | 86113.3336 | 92232.4967 | 95188.6268 | 95846.8985 | 98390.5789 | 99730.8627 | 99708.2335 | 99866.9043 | 100209.9286 | 100601.7757 | 101003.8899
1.2 Annual demand change (2025 – 2034)
LDZ | SGN | Scotland | Southern
Change on average per year | 0.9575% | 0.7576% | 1.057%
\

## 2. Peak Day Demand Overview
Peak Day Demand Overview
2.1 Peak Day Demand overview - historical and forecasted (GWh)
Gas supply year | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
SGN total | 1129.8069 | 1153.1673 | 1111.2887 | 1131.4002 | 1151.2311 | 1152.6848 | 1161.7765 | 1147.3714 | 1154.3599 | 1148.4526 | 1158.2908 | 1159.8656 | 1139.8512 | 1142.7434 | 1143.0074 | 1140.5476 | 1147.8079 | 1154.0113 | 1152.9925 | 1154.9024 | 1157.6728 | 1161.4292 | 1163.3515
Scotland LDZ | 340.1763 | 336.5294 | 324.9977 | 343.3504 | 354.4178 | 356.0939 | 355.7211 | 340.2401 | 345.0589 | 342.6274 | 346.0566 | 347.1648 | 350.9325 | 352.4401 | 352.6647 | 350.8631 | 355.1831 | 355.1524 | 354.1328 | 354.2988 | 354.6097 | 355.3408 | 356.1628
Southern LDZs | 789.6306 | 816.6379 | 786.291 | 788.0498 | 796.8133 | 796.5909 | 806.0554 | 807.1313 | 809.301 | 805.8251 | 812.2343 | 812.7008 | 788.9187 | 790.3033 | 790.3427 | 789.6845 | 792.6248 | 798.8589 | 798.8597 | 800.6036 | 803.0631 | 806.0884 | 807.1887
2.2 Peak Day Demand change (2025 – 2034)
LDZ | 2012/13: SGN; 2013/14: Scotland; 2014/15: Southern
Change on average per year | 2012/13: 0.2004%; 2013/14: 0.1174%; 2014/15: 0.2374%
\

## 3. Forecast Comparisons
Forecast Comparisons
3.1 Peak day demand comparison - Scotland LDZ (GWh)
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
2025 Forecast | 350.9325 | 352.4401 | 352.6647 | 350.8631 | 355.1831 | 355.1524 | 354.1328 | 354.2988 | 354.6097 | 355.3408 | 356.1628
2024 Forecast | 347.1648 | 347.5413 | 346.8283 | 345.5742 | 345.4745 | 347.1736 | 348.2232 | 349.5192 | 350.9859 | 352.9608
3.2 Peak day demand comparison - South East LDZ (GWh)
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
2025 Forecast | 453.1225 | 451.9981 | 451.3716 | 450.7476 | 451.8929 | 455.7102 | 456.0042 | 456.1979 | 457.1534 | 458.3703 | 459.6176
2024 Forecast | 464.3478 | 464.1711 | 463.0345 | 463.3656 | 465.2842 | 468.9047 | 471.0405 | 473.582 | 476.2031 | 478.9502
3.3 Peak day demand comparison - South LDZ (GWh)
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
2025 Forecast | 335.7961 | 338.3052 | 338.9711 | 338.9369 | 340.7319 | 343.1486 | 342.8555 | 344.4057 | 345.9098 | 347.7181 | 347.5712
2024 Forecast | 348.3531 | 350.2691 | 351.2652 | 351.5936 | 352.7622 | 355.6685 | 357.6436 | 359.6563 | 361.8072 | 364.0471

## 4. Annual Demand Forecast-table
Annual Demand Forecast - tables
4.1 Annual demand forecast by load category - SGN overall (TWh)
Calendar year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
NDM1 (0-73MWh) | 79.9876 | 83.1487 | 86.2586 | 87.4865 | 90.8457 | 92.1704 | 91.8695 | 91.9757 | 92.2232 | 92.5523 | 92.8568
NDM2 (73-732MWh) | 12.7767 | 12.8076 | 12.8708 | 12.9755 | 13.1064 | 13.2125 | 13.285 | 13.3665 | 13.47 | 13.5848 | 13.7123
NDM3 (732 - 2196MWh) | 5.5249 | 5.5173 | 5.5309 | 5.5153 | 5.5043 | 5.4979 | 5.4908 | 5.4874 | 5.4888 | 5.4941 | 5.5034
NDM4 (2196 - 5860MWh) | 3.425 | 3.4204 | 3.431 | 3.4228 | 3.4175 | 3.415 | 3.4121 | 3.4114 | 3.4137 | 3.4185 | 3.4258
Total small user | 101.7143 | 104.894 | 108.0912 | 109.4 | 112.874 | 114.2957 | 114.0574 | 114.2409 | 114.5957 | 115.0495 | 115.4984
NDM5 (> 5860MWh) | 6.8625 | 6.8522 | 6.8654 | 6.8433 | 6.8267 | 6.8158 | 6.8042 | 6.797 | 6.7958 | 6.7995 | 6.8082
DM | 21.8108 | 25.6547 | 25.993 | 26.0311 | 26.0894 | 26.1724 | 26.2775 | 26.4049 | 26.5546 | 26.7268 | 26.9213
Total large user | 28.6733 | 32.5069 | 32.8585 | 32.8744 | 32.9161 | 32.9881 | 33.0817 | 33.2019 | 33.3505 | 33.5262 | 33.7295
Total (non Shrinkage) | 130.3876 | 137.4009 | 140.9496 | 142.2744 | 145.7902 | 147.2839 | 147.1391 | 147.4428 | 147.9462 | 148.5758 | 149.2279
Shrinkage | 0.61641 | 0.59568 | 0.63922 | 0.65801 | 0.66231 | 0.65949 | 0.66051 | 0.65949 | 0.66231 | 0.65949 | 0.66051
Total | 131.004 | 137.9966 | 141.5889 | 142.9324 | 146.4525 | 147.9434 | 147.7996 | 148.1023 | 148.6085 | 149.2353 | 149.8884
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
Total throughput | 136.2 | 140.7 | 142.6 | 145.5 | 147.6 | 147.8 | 148.1 | 148.5 | 149.1 | 149.7 | 150.4
4.2 Annual demand forecast by load category - Scotland LDZ (TWh)
Calender year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
NDM1 (0-73MWh) | 26.5247 | 26.9491 | 27.395 | 28.0774 | 29.0228 | 29.1174 | 28.9244 | 28.9692 | 29.0014 | 29.0778 | 29.1404
NDM2 (73-732MWh) | 4.2322 | 4.3067 | 4.341 | 4.3702 | 4.4058 | 4.4514 | 4.5054 | 4.568 | 4.6394 | 4.7199 | 4.8099
NDM3 (732 - 2196MWh) | 2.2594 | 2.2522 | 2.2671 | 2.2635 | 2.264 | 2.2652 | 2.2639 | 2.2644 | 2.2678 | 2.2731 | 2.2804
NDM4 (2196 - 5860MWh) | 1.4745 | 1.4698 | 1.4796 | 1.4772 | 1.4775 | 1.4783 | 1.4775 | 1.4778 | 1.48 | 1.4834 | 1.4882
Total small user | 34.4908 | 34.9778 | 35.4826 | 36.1883 | 37.17 | 37.3123 | 37.1713 | 37.2794 | 37.3886 | 37.5542 | 37.7189
NDM5 (> 5860MWh) | 2.7589 | 2.7501 | 2.7684 | 2.7639 | 2.7645 | 2.766 | 2.7644 | 2.765 | 2.7691 | 2.7756 | 2.7845
DM | 7.4725 | 7.8737 | 7.9762 | 7.9555 | 7.9489 | 7.9563 | 7.9776 | 8.013 | 8.0623 | 8.1257 | 8.2031
Total large user | 10.2314 | 10.6238 | 10.7445 | 10.7194 | 10.7134 | 10.7222 | 10.7421 | 10.778 | 10.8315 | 10.9013 | 10.9876
Total (non Shrinkage) | 44.7222 | 45.6016 | 46.2272 | 46.9078 | 47.8834 | 48.0345 | 47.9133 | 48.0574 | 48.2201 | 48.4555 | 48.7065
Shrinkage | 0.16845 | 0.16248 | 0.17305 | 0.17775 | 0.17849 | 0.178 | 0.178 | 0.178 | 0.17849 | 0.178 | 0.178
Total | 44.8907 | 45.7641 | 46.4002 | 47.0855 | 48.0619 | 48.2125 | 48.0913 | 48.2354 | 48.3985 | 48.6335 | 48.8845
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
Total throughput | 45.5 | 46.2 | 46.9 | 47.8 | 48.2 | 48.1 | 48.2 | 48.4 | 48.6 | 48.8 | 49.1
4.3 Annual demand forecast by load category - South East LDZ (TWh)
Calender year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
NDM1 (0-73MWh) | 31.7917 | 33.8194 | 35.8191 | 35.7106 | 37.227 | 38.259 | 38.197 | 38.1166 | 38.2086 | 38.3101 | 38.4204
NDM2 (73-732MWh) | 5.0403 | 5.0122 | 4.9841 | 5.0133 | 5.0222 | 5.0334 | 5.0468 | 5.0626 | 5.0807 | 5.1011 | 5.1238
NDM3 (732 - 2196MWh) | 1.7862 | 1.7908 | 1.8092 | 1.8183 | 1.8272 | 1.8388 | 1.8514 | 1.8651 | 1.8799 | 1.8958 | 1.9128
NDM4 (2196 - 5860MWh) | 1.1343 | 1.1372 | 1.1489 | 1.1546 | 1.1603 | 1.1676 | 1.1757 | 1.1844 | 1.1938 | 1.2038 | 1.2146
Total small user | 39.7525 | 41.7595 | 43.7612 | 43.6968 | 45.2367 | 46.2988 | 46.2709 | 46.2287 | 46.3629 | 46.5108 | 46.6716
NDM5 (> 5860MWh) | 2.1012 | 2.1066 | 2.1282 | 2.1389 | 2.1494 | 2.163 | 2.1779 | 2.194 | 2.2114 | 2.2301 | 2.2501
DM | 8.0409 | 8.141 | 8.1497 | 8.1406 | 8.1365 | 8.1375 | 8.1434 | 8.1543 | 8.1702 | 8.1912 | 8.2171
Total large user | 10.1421 | 10.2476 | 10.2779 | 10.2795 | 10.2859 | 10.3005 | 10.3213 | 10.3483 | 10.3816 | 10.4212 | 10.4671
Total (non Shrinkage) | 49.8945 | 52.0071 | 54.0391 | 53.9763 | 55.5226 | 56.5993 | 56.5922 | 56.577 | 56.7446 | 56.932 | 57.1388
Shrinkage | 0.2602 | 0.25097 | 0.27236 | 0.28151 | 0.28353 | 0.28225 | 0.28275 | 0.28225 | 0.28353 | 0.28225 | 0.28275
Total | 50.1547 | 52.2581 | 54.3115 | 54.2578 | 55.8061 | 56.8816 | 56.8749 | 56.8593 | 57.0281 | 57.2143 | 57.4215
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
Total throughput | 51.7 | 53.8 | 54.3 | 55.4 | 56.6 | 56.9 | 56.9 | 57 | 57.2 | 57.4 | 57.6
4.4 Annual demand forecast by load category - South LDZ (TWh)
Calender year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
NDM1 (0-73MWh) | 21.6712 | 22.3803 | 23.0445 | 23.6984 | 24.596 | 24.7939 | 24.7481 | 24.8899 | 25.0131 | 25.1643 | 25.296
NDM2 (73-732MWh) | 3.5043 | 3.4887 | 3.5457 | 3.5919 | 3.6785 | 3.7277 | 3.7327 | 3.7359 | 3.7499 | 3.7637 | 3.7786
NDM3 (732 - 2196MWh) | 1.4794 | 1.4743 | 1.4546 | 1.4336 | 1.4132 | 1.3939 | 1.3755 | 1.3579 | 1.3411 | 1.3252 | 1.3103
NDM4 (2196 - 5860MWh) | 0.81625 | 0.81344 | 0.80257 | 0.79101 | 0.77975 | 0.76911 | 0.75894 | 0.74922 | 0.73998 | 0.73122 | 0.72296
Total small user | 27.4711 | 28.1567 | 28.8473 | 29.5149 | 30.4673 | 30.6846 | 30.6152 | 30.7328 | 30.8442 | 30.9845 | 31.1078
NDM5 (> 5860MWh) | 2.0024 | 1.9955 | 1.9688 | 1.9405 | 1.9129 | 1.8868 | 1.8618 | 1.838 | 1.8153 | 1.7938 | 1.7735
DM | 6.2974 | 9.64 | 9.8672 | 9.9349 | 10.004 | 10.0786 | 10.1565 | 10.2376 | 10.3221 | 10.4099 | 10.5012
Total large user | 8.2998 | 11.6355 | 11.836 | 11.8754 | 11.9168 | 11.9654 | 12.0183 | 12.0756 | 12.1374 | 12.2037 | 12.2748
Total (non Shrinkage) | 35.7709 | 39.7922 | 40.6833 | 41.3904 | 42.3842 | 42.65 | 42.6335 | 42.8084 | 42.9815 | 43.1883 | 43.3826
Shrinkage | 0.18776 | 0.18223 | 0.19381 | 0.19875 | 0.2003 | 0.19925 | 0.19975 | 0.19925 | 0.2003 | 0.19925 | 0.19975
Total | 35.9586 | 39.9744 | 40.8771 | 41.5891 | 42.5845 | 42.8493 | 42.8333 | 43.0077 | 43.1818 | 43.3875 | 43.5824
Gas supply year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
Total throughput | 39 | 40.7 | 41.4 | 42.3 | 42.8 | 42.8 | 43 | 43.1 | 43.3 | 43.5 | 43.7

## 5. Peak Demand Forecast tables
Peak Day Demand Forecast - tables
5.1 Peak day demand forecast - at a glance (GWh)
Gas Supply Year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
Scotland | 350.9325 | 352.4401 | 352.6647 | 350.8631 | 355.1831 | 355.1524 | 354.1328 | 354.2988 | 354.6097 | 355.3408 | 356.1628
South East | 453.1225 | 451.9981 | 451.3716 | 450.7476 | 451.8929 | 455.7102 | 456.0042 | 456.1979 | 457.1534 | 458.3703 | 459.6176
South East | 335.7961 | 338.3052 | 338.9711 | 338.9369 | 340.7319 | 343.1486 | 342.8555 | 344.4057 | 345.9098 | 347.7181 | 347.5712
5.2 Peak day demand forecast by load category - SGN overall (GWh)
Gas Supply Year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
NDM1 (0-73MWh) | 813.6799 | 812.1531 | 809.5354 | 806.2234 | 812.2525 | 817.2486 | 815.205 | 815.8559 | 816.992 | 818.8551 | 820.4103
NDM2 (73-732MWh) | 107.6637 | 107.8856 | 108.4053 | 109.2891 | 110.3921 | 111.2769 | 111.8708 | 112.5369 | 113.3877 | 114.33 | 115.3773
NDM3 (732 - 2196MWh) | 34.5548 | 34.5059 | 34.5697 | 34.4586 | 34.3745 | 34.3192 | 34.2617 | 34.2266 | 34.2212 | 34.2398 | 34.2835
NDM4 (2196 - 5860MWh) | 21.3172 | 21.2884 | 21.3419 | 21.2831 | 21.2416 | 21.2177 | 21.1918 | 21.1798 | 21.1864 | 21.2079 | 21.2451
NDM5 (> 5860MWh) | 43.0646 | 42.9989 | 43.0535 | 42.896 | 42.772 | 42.6835 | 42.5928 | 42.5299 | 42.5037 | 42.5074 | 42.5422
NDM total | 1020.2801 | 1018.8319 | 1016.9059 | 1014.1502 | 1021.0328 | 1026.7458 | 1025.1221 | 1026.329 | 1028.291 | 1031.1402 | 1033.8584
DM | 117.8999 | 122.2375 | 124.3015 | 124.587 | 124.9641 | 125.46 | 126.0595 | 126.7629 | 127.5708 | 128.4836 | 127.6822
Total (non Shrinkage) | 1138.18 | 1141.0694 | 1141.2074 | 1138.7372 | 1145.9969 | 1152.2058 | 1151.1816 | 1153.092 | 1155.8618 | 1159.6237 | 1161.5406
Shrinkage | 1.6712 | 1.674 | 1.8 | 1.8104 | 1.811 | 1.8055 | 1.811 | 1.8104 | 1.811 | 1.8055 | 1.811
Total | 1139.8512 | 1142.7434 | 1143.0074 | 1140.5476 | 1147.8079 | 1154.0113 | 1152.9925 | 1154.9024 | 1157.6728 | 1161.4292 | 1163.3515
5.3 Peak day demand forecast by load category - Scotland LDZ (GWh)
Gas Supply Year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
NDM1 (0-73MWh) | 239.8597 | 239.8597 | 238.612 | 236.7229 | 240.7781 | 240.3297 | 238.809 | 238.3175 | 237.7957 | 237.5298 | 237.1871
NDM2 (73-732MWh) | 34.0129 | 34.6117 | 34.8872 | 35.1224 | 35.4078 | 35.7749 | 36.2088 | 36.7116 | 37.2855 | 37.9328 | 38.6557
NDM3 (732 - 2196MWh) | 13.194 | 13.1521 | 13.2393 | 13.218 | 13.2208 | 13.2279 | 13.2206 | 13.2233 | 13.243 | 13.2739 | 13.3167
NDM4 (2196 - 5860MWh) | 8.6105 | 8.5832 | 8.6401 | 8.6262 | 8.628 | 8.6326 | 8.6279 | 8.6296 | 8.6425 | 8.6627 | 8.6906
NDM5 (> 5860MWh) | 16.1109 | 16.0598 | 16.1663 | 16.1402 | 16.1437 | 16.1523 | 16.1435 | 16.1467 | 16.1708 | 16.2085 | 16.2608
NDM total | 311.7881 | 312.2664 | 311.5449 | 309.8297 | 314.1784 | 314.1174 | 313.0098 | 313.0288 | 313.1376 | 313.6077 | 314.111
DM | 38.6869 | 39.6779 | 40.6294 | 40.5444 | 40.517 | 40.5473 | 40.6353 | 40.781 | 40.9844 | 41.2454 | 41.5641
Total (non Shrinkage) | 350.475 | 351.9442 | 352.1743 | 350.3741 | 354.6954 | 354.6648 | 353.6451 | 353.8098 | 354.122 | 354.8531 | 355.6751
Shrinkage | 0.45753 | 0.49589 | 0.49041 | 0.48901 | 0.48767 | 0.48767 | 0.48767 | 0.48901 | 0.48767 | 0.48767 | 0.48767
Total | 350.9325 | 352.4401 | 352.6647 | 350.8631 | 355.1831 | 355.1524 | 354.1328 | 354.2988 | 354.6097 | 355.3408 | 356.1628
5.4 Peak day demand forecast by load category - South East LDZ (GWh)
Gas Supply Year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
NDM1 (0-73MWh) | 334.4577 | 332.9309 | 332.035 | 331.0399 | 331.9735 | 335.4902 | 335.4137 | 335.1757 | 335.6331 | 336.2898 | 336.9054
NDM2 (73-732MWh) | 43.6752 | 43.4318 | 43.1883 | 43.4416 | 43.5187 | 43.6154 | 43.732 | 43.8686 | 44.0252 | 44.2021 | 44.3993
NDM3 (732 - 2196MWh) | 11.0585 | 11.087 | 11.2008 | 11.2569 | 11.3121 | 11.3839 | 11.4622 | 11.547 | 11.6385 | 11.7368 | 11.8419
NDM4 (2196 - 5860MWh) | 7.0222 | 7.0403 | 7.1126 | 7.1482 | 7.1833 | 7.2289 | 7.2786 | 7.3325 | 7.3906 | 7.453 | 7.5198
NDM5 (> 5860MWh) | 13.0086 | 13.0421 | 13.176 | 13.242 | 13.307 | 13.3914 | 13.4835 | 13.5833 | 13.6909 | 13.8065 | 13.9302
NDM total | 409.2222 | 407.5321 | 406.7126 | 406.1287 | 407.2946 | 411.1099 | 411.3701 | 411.507 | 412.3783 | 413.4882 | 414.5966
DM | 43.1962 | 43.7838 | 43.8919 | 43.8443 | 43.8229 | 43.8277 | 43.8588 | 43.9161 | 43.9997 | 44.1096 | 44.2456
Total (non Shrinkage) | 452.4184 | 451.3159 | 450.6045 | 449.9729 | 451.1175 | 454.9376 | 455.2289 | 455.4232 | 456.378 | 457.5977 | 458.8422
Shrinkage | 0.70411 | 0.68219 | 0.76712 | 0.77472 | 0.77534 | 0.7726 | 0.77534 | 0.77472 | 0.77534 | 0.7726 | 0.77534
Total | 453.1225 | 451.9981 | 451.3716 | 450.7476 | 451.8929 | 455.7102 | 456.0042 | 456.1979 | 457.1534 | 458.3703 | 459.6176
5.5 Peak day demand forecast by load category - South LDZ (GWh)
Gas Supply Year | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35
NDM1 (0-73MWh) | 239.3625 | 239.3625 | 238.8884 | 238.4606 | 239.501 | 241.4287 | 240.9823 | 242.3628 | 243.5633 | 245.0354 | 246.3177
NDM2 (73-732MWh) | 29.9756 | 29.8422 | 30.3299 | 30.7251 | 31.4656 | 31.8865 | 31.9299 | 31.9567 | 32.077 | 32.1951 | 32.3223
NDM3 (732 - 2196MWh) | 10.3023 | 10.2669 | 10.1296 | 9.9837 | 9.8416 | 9.7074 | 9.5789 | 9.4563 | 9.3396 | 9.2291 | 9.1248
NDM4 (2196 - 5860MWh) | 5.6845 | 5.6649 | 5.5892 | 5.5087 | 5.4302 | 5.3562 | 5.2853 | 5.2176 | 5.1533 | 5.0923 | 5.0347
NDM5 (> 5860MWh) | 13.945 | 13.897 | 13.7113 | 13.5138 | 13.3214 | 13.1397 | 12.9658 | 12.7998 | 12.642 | 12.4923 | 12.3512
NDM total | 299.2699 | 299.0334 | 298.6484 | 298.1918 | 299.5598 | 301.5185 | 300.7423 | 301.7933 | 302.7751 | 304.0443 | 305.1508
DM | 36.0167 | 38.7758 | 39.7803 | 40.1983 | 40.6242 | 41.0849 | 41.5653 | 42.0657 | 42.5867 | 43.1286 | 41.8724
Total (non Shrinkage) | 335.2866 | 337.8093 | 338.4286 | 338.3902 | 340.184 | 342.6034 | 342.3076 | 343.859 | 345.3618 | 347.1729 | 347.0232
Shrinkage | 0.50959 | 0.49589 | 0.54247 | 0.5467 | 0.54795 | 0.54521 | 0.54795 | 0.5467 | 0.54795 | 0.54521 | 0.54795
Total | 335.7961 | 338.3052 | 338.9711 | 338.9369 | 340.7319 | 343.1486 | 342.8555 | 344.4057 | 345.9098 | 347.7181 | 347.5712

## 6. Actual Annual Demand flows
Actual Annual Demand Flows
6.1 Annual demand for 2024 (TWh) – Scotland LDZ
Column1 | Actual Demand | WCD | 2024 LTDS forecast demand
0-73MWh | 24.0357 | 26.5247 | 26.3825
73-5860MWh | 7.2171 | 7.9661 | 7.8355
>5860 firm | 9.813 | 10.2314 | 11.2772
Total LDZs | 43.4506 | 44.7222 | 45.4953
Shrinkage | 0.16845 | 0.16845 | 0.16845
Total Throughput | 43.619 | 44.8907 | 45.6637
6.2 Annual demand for 2024 (TWh) – South East LDZ
Column1 | Actual Demand | WCD | 2024 LTDS forecast demand
0-73.2 | 29.9715 | 31.7917 | 33.4101
73-5860 | 7.5281 | 7.9607 | 7.8542
>5860 firm | 9.9178 | 10.1421 | 10.751
Total LDZs | 47.6427 | 49.8945 | 52.0153
Shrinkage | 0.2602 | 0.2602 | 0.2602
Total Throughput | 47.9029 | 50.1547 | 52.2755
6.3 Annual demand for 2024 (TWh) – South LDZ
Column1 | Actual Demand | WCD | 2024 LTDS forecast demand
0-73.2 | 19.3975 | 21.6712 | 22.2735
73-5860 | 5.2019 | 5.7999 | 5.766
>5860 firm | 7.9443 | 8.2998 | 11.7197
Total LDZs | 33.6931 | 35.7709 | 39.7592
Shrinkage | 0.18776 | 0.18776 | 0.18776
Total Throughput | 33.8809 | 35.9586 | 39.9469

## 7. Winter Severity Statistics
Winter Severity Statistics
7.1 '1 in X' winter severities per LDZ
LDZ | 1 in X
Scotland | 12_warm
South East | 4_Warm
South | 5_Warm
National | 5_Warm
Sourced from the April 2025 National Grid Winter Severity Report 2024/25
These statistics reflect the gas industry's definition of winter as October to March.
Winters are classified as warm, cold, or average, with the '1 in X' metric indicating how extreme the conditions are compared to the norm.

## 8. Maximum and Minimum Flows
Maximum and Minimum Flows
8.1 Maximum and minimum flows - actual day demand (gas year 2024/2025)
LDZ | Maximum day 2024/25 | Minimum day 2024/25
Scotland | 22.87 mscm/d (10/01/2025) | 3.3 mscm/d (12/07/2025)
South East | 30.52 mscm/d (10/01/2025) | 3.72 mscm/d (12/07/2025)
South | 20.55 mscm/d (10/01/2025) | 3.08 mscm/d (28/06/2025)
8.2 Maximum and minimum flows - % of a peak day demand forecast (gas year 2024/2025)
LDZ | Forecast peak day | Actual maximum peak day | Actual minimum peak day
Scotland | 31.87 mscm/d | 71.76% | 10.35%
South East | 42.84 mscm/d | 71.24% | 8.68%
South | 32.61 mscm/d | 63.02% | 9.44%

## 9. Portfolio of Biomethane
Portfolio of Biomethane Sites
9.1 Portfolio of Biomethane sites as of end August 2025
LDZ | Total | Equivalent number of domestic customers
Scotland | 25 | 208657
Southern | 20 | 145529
Total | 45 | 354186
The table above shows the total number of biomethane sites connected to our networks, their contracted capacity, and the estimated number of domestic customers they could supply - based on Ofgem’s average annual consumption of 11,500 kWh.
Thirteen projects are currently in various stages of development and are scheduled to connect to the network by 2027.

## 10. Major Projects <7bar
Major Projects <7bar
Tables below provide an overview of major projects with a pressure level of less than 7bar that align with the planning horizon discussed in 2025 LTDS.
Major Projects are works estimated to cost up to and in excess of £500,000.
Projects under construction
10.1 <7 Bar Major Projects under construction in Scotland LDZ
Project | Build year | Project scope
Great Western Road, Glasgow | 2025/27 | Uprating 4.5km of MP mains & installation of 3x DPG & 400m of inlet/outlet mains and associated works.
Haddington - Dunbar IP | 2025/26 | 180mm PE IP x 115m & 315mm PE MP x 120m & new DPG
10.2 <7 Bar Major Projects under construction in South LDZ
Project | Build year | Project scope
Grenoble Road, Oxford, Oxfordshire | 2025/26 | 2.2km x 180mm IP PE and governor install
Aberlady - Gullane (Phase 1) | 2026/27 | 446m x 315mm PE MP
10.3 <7 Bar Major Projects under construction in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects under consideration
10.4 <7 Bar Major Projects under consideration in Scotland LDZ
Project | Build year | Project scope
A96, Raigmore, Inverness | 2025/26 | 335mm x 615mm MP PE
10.5 <7 Bar Major Projects under consideration in South LDZ
Project | Build year | Project scope
Hithercroft Road, Wallingford, OX10 9GQ | 2026/27 | 2.4km x 250mm MP PE and abandonment of 2.3km x 6" SI MP
Mindenhurst Road, Deepcut, Camberley, Surrey, GU16 6QF | 2026/27 | 1.2km x 180 MP PE, 0.6km of LP reinforcement and governor installation
Southampton Road (A36), Churchill Way South, Salisbury, SP1 2HS | 2026/27 | 1.2km x 355 MP PE
10.6 <7 Bar Major Projects under consideration in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects with low probability of progressing
10.7 <7 Bar Major Projects with a low probability of progressing
Project | Build year | Project scope
Tranent IP - Phase 2 | 2026-2027 | 2.4km x 315mm HDPE IP

## 11. Major Projects >7bar
Major Projects >7bar
Tables below provide an overview of major projects with a pressure level of more than 7bar that align with the planning horizon discussed in 2025 LTDS.
Major Projects are works estimated to cost up to and in excess of £500,000.
Projects under construction
11.1 >7 Bar Major Projects under construction in Scotland LDZ
Project | Build year | Project scope
None | n/a | n/a
11.2 >7 Bar Major Projects under construction in South LDZ
Project | Build year | Project scope
None | n/a | n/a
11.3 >7 Bar Major Projects under construction in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects under consideration
11.4 >7 Bar Major Projects under consideration in Scotland LDZ
Project | Build year | Project scope
None | n/a | n/a
11.5 >7 Bar Major Projects under consideration in South LDZ
Project | Build year | Project scope
None | n/a | n/a
11.6 >7 Bar Major Projects under consideration in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects with low probability of progressing
11.7 >7 Bar Major Projects with a low probability of progressing
Project | Build year | Project scope
None | n/a | n/a