## Content
2026 SGN LTDS forecast data workbook
How to Use:
This workbook has been created to complement SGN Long Term Delevopment Statement 2026 publication by providing structured data across key areas of gas demand forecasting.
Forecasts are presented on a year-by-year basis through to 2035/36. Data is grouped by UNC load band categories and LDZ. It relates exclusively to gas transported through SGN system.
The workbook is protected to prevent accidental changes to data. Please use the read-only version for reference; any updates or edits should be made through the designated contact point.
If you have questions or require clarification on any section, please refer to the LTDS publication or contact the LTDS team directly at network.capacity@sgn.co.uk
Workbook Contents:
Tab | Item number | Item Name
1. Annual Demand Overview | 1.1 | Historical and forecasted annual demand
| 1.2 | Annual demand change (2026 - 2035)
2. Peak Day Demand Oveview | 2.1 | Historical and forecasted peak day demand
| 2.2 | Annual demand change (2026 - 2035)
3. Forecast Comparisons | 3.1 | Peak day demand comparison - Scotland LDZ (GWh)
| 3.2 | Peak day demand comparison - South East LDZ (GWh)
| 3.3 | Peak day demand comparison - South LDZ (GWh)
4. Annual Demand Forecast - tables | 4.1 | Annual demand forecast by load category - SGN overall (TWh)
| 4.2 | Annual demand forecast by load category - Scotland LDZ (TWh)
| 4.3 | Annual demand forecast by load category - South East LDZ (TWh)
| 4.4 | Annual demand forecast by load category - South LDZ (TWh)
5. Peak Demand Forecast - tables | 5.1 | Peak day demand forecast - at a glance (GWh)
| 5.2 | Peak day demand forecast by load category - SGN overall (GWh)
| 5.3 | Peak day demand forecast by load category - Scotland LDZ (GWh)
| 5.4 | Peak day demand forecast by load category - South East LDZ (GWh)
| 5.5 | Peak day demand forecast by load category - South LDZ (GWh)
6. Actual Annual Demand Flows | 6.1 | Annual demand for 2025 - Scotland LDZ (TWh)
| 6.2 | Annual demand for 2025 - South East LDZ (TWh)
| 6.3 | Annual demand for 2025 - South LDZ (TWh)
7. Winter Severity Statistics | 7.1 | 1 in X winter severities per LDZ
8. Maximum and Minimum Flows | 8.1 | Maximum and minimum flows - actual demand (gas year 2025/2026)
| 8.2 | Maximum and minimum flows - % of a peak day demand forecast (gas year 2025/2026)
9. Biomethane Sites | 9.1 | Portfolio of Biomethane sites (August 2026)
10. Major Projects <7bar | 10.1 | <7 bar Major Projects under construction - Scotland LDZ
| 10.2 | <7 bar Major Projects under construction - South LDZ
| 10.3 | <7 bar Major Projects under construction - South East LDZ
| 10.4 | <7 bar Major Projects under consideration - Scotland LDZ
| 10.5 | <7 bar Major Projects under consideration - South LDZ
| 10.6 | <7 bar Major Projects under consideration - South East LDZ
| 10.7 | <7 bar Major Projects with low probability of progressing
11. Major Projects >7bar | 11.1 | >7 bar Major Projects under construction - Scotland LDZ
| 11.2 | >7 bar Major Projects under construction - South LDZ
| 11.3 | >7 bar Major Projects under construction - South East LDZ
| 11.4 | >7 bar Major Projects under consideration - Scotland LDZ
| 11.5 | >7 bar Major Projects under consideration - South LDZ
| 11.6 | >7 bar Major Projects under consideration - South East LDZ
| 11.7 | >7 bar Major Projects with low probability of progressing

## 1. Annual Demand Overview
Annual Demand Overview
1.1 Annual Demand Overview - historical and forecasted (GWh)
Calendar year | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
SGN total | 145883.8831 | 139679.7807 | 141989.2374 | 145658.5284 | 144424.9698 | 141099.9536 | 140301.298 | 140854.9853 | 140834.0382 | 132449.7284 | 126018.5933 | 126756.5789 | 129977.0623 | 133140.1037 | 135831.9871 | 137573.137 | 138044.9865 | 138322.5767 | 138764.9602 | 139379.3218 | 140157.3401 | 140991.2964 | 141869.847
Scotland LDZ | 51260.4383 | 49525.0978 | 48570.6431 | 49767.0303 | 48437.0344 | 47797.5769 | 48440.8411 | 47592.1582 | 47654.6028 | 44966.0926 | 42458.029 | 42649.6852 | 43023.7347 | 43612.4854 | 43442.0765 | 43702.3443 | 43781.211 | 43842.2268 | 44054.9485 | 44335.6492 | 44681.9803 | 45058.4236 | 45462.6298
Southern LDZs | 94623.4448 | 90154.6829 | 93418.5943 | 95891.4981 | 95987.9354 | 93302.3767 | 91860.4569 | 93262.8271 | 93179.4354 | 87483.6358 | 83560.5644 | 84106.8937 | 86953.3276 | 89527.6183 | 92389.9107 | 93870.7927 | 94263.7755 | 94480.3499 | 94710.0117 | 95043.6726 | 95475.3598 | 95932.8729 | 96407.2172
1.2 Annual demand change (2026 – 2035)
LDZ | SGN | Scotland | Southern
Change on average per year | 0.7285% | 0.4714% | 0.8538%
\

## 2. Peak Day Demand Overview
Peak Day Demand Overview
2.1 Peak Day Demand overview - historical and forecasted (GWh)
Gas supply year | 2012/13 | 2013/14 | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
SGN total | 1129.8069 | 1153.1673 | 1111.2887 | 1131.4002 | 1151.2311 | 1152.6848 | 1161.7765 | 1147.3714 | 1154.3599 | 1148.4526 | 1158.2908 | 1159.8656 | 1139.8512 | 1126.3312 | 1123.8548 | 1117.9141 | 1114.9689 | 1112.3393 | 1110.7947 | 1109.5763 | 1109.0352 | 1110.1075 | 1112.4322 | 1116.0792
Scotland LDZ | 340.1763 | 336.5294 | 324.9977 | 343.3504 | 354.4178 | 356.0939 | 355.7211 | 340.2401 | 345.0589 | 342.6274 | 346.0566 | 347.1648 | 350.9325 | 348.7755 | 346.7861 | 340.8292 | 338.9734 | 337.2885 | 336.4977 | 336.018 | 335.6173 | 335.333 | 335.3711 | 336.5187
Southern LDZs | 789.6306 | 816.6379 | 786.291 | 788.0498 | 796.8133 | 796.5909 | 806.0554 | 807.1313 | 809.301 | 805.8251 | 812.2343 | 812.7008 | 788.9187 | 777.5557 | 777.0687 | 777.0849 | 775.9955 | 775.0508 | 774.297 | 773.5582 | 773.4178 | 774.7745 | 777.0611 | 779.5606
2.2 Peak Day Demand change (2026 – 2035)
LDZ | 2012/13: SGN; 2013/14: Scotland; 2014/15: Southern
Change on average per year | 2012/13: -0.07687%; 2013/14: -0.329%; 2014/15: 0.03563%
\

## 3. Forecast Comparisons
Forecast Comparisons
3.1 Peak day demand comparison - Scotland LDZ (GWh)
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
2026 Forecast | 348.7755 | 346.7861 | 340.8292 | 338.9734 | 337.2885 | 336.4977 | 336.018 | 335.6173 | 335.333 | 335.3711 | 336.5187
2025 Forecast | 352.4401 | 352.6647 | 350.8631 | 355.1831 | 355.1524 | 354.1328 | 354.2988 | 354.6097 | 355.3408 | 356.1628
3.2 Peak day demand comparison - South East LDZ (GWh)
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
2026 Forecast | 443.6514 | 443.623 | 442.8002 | 441.7276 | 440.6204 | 439.664 | 438.5945 | 438.0506 | 438.794 | 439.4481 | 440.046
2025 Forecast | 451.9981 | 451.3716 | 450.7476 | 451.8929 | 455.7102 | 456.0042 | 456.1979 | 457.1534 | 458.3703 | 459.6176
3.3 Peak day demand comparison - South LDZ (GWh)
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
2026 Forecast | 333.9044 | 333.4457 | 334.2847 | 334.2679 | 334.4304 | 334.633 | 334.9637 | 335.3673 | 335.9805 | 337.6131 | 339.5145
2025 Forecast | 338.3052 | 338.9711 | 338.9369 | 340.7319 | 343.1486 | 342.8555 | 344.4057 | 345.9098 | 347.7181 | 347.5712

## 4. Annual Demand Forecast-table
Annual Demand Forecast - tables
4.1 Annual demand forecast by load category - SGN overall (TWh)
Calendar year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NDM1 (0-73MWh) | 79.4612 | 82.0112 | 84.1871 | 86.147 | 86.815 | 87.1986 | 87.5792 | 88.0755 | 88.6876 | 89.2976 | 89.9026
NDM2 (73-732MWh) | 11.9645 | 11.6452 | 11.5788 | 11.4832 | 11.4007 | 11.3302 | 11.2708 | 11.2227 | 11.1865 | 11.1623 | 11.1507
NDM3 (732 - 2196MWh) | 5.2145 | 5.142 | 5.0798 | 5.0371 | 5.0052 | 4.9802 | 4.9616 | 4.9495 | 4.944 | 4.9452 | 4.9527
NDM4 (2196 - 5860MWh) | 3.2397 | 3.1962 | 3.1592 | 3.1331 | 3.1138 | 3.0986 | 3.0873 | 3.0801 | 3.0769 | 3.0778 | 3.0826
Total small user | 99.8799 | 101.9947 | 104.005 | 105.8004 | 106.3347 | 106.6075 | 106.8989 | 107.3278 | 107.895 | 108.483 | 109.0886
NDM5 (> 5860MWh) | 6.6455 | 6.552 | 6.4715 | 6.4164 | 6.3752 | 6.3429 | 6.3188 | 6.3032 | 6.2961 | 6.2976 | 6.3073
DM | 22.856 | 24.0175 | 24.7228 | 24.6933 | 24.6741 | 24.7107 | 24.8875 | 25.0861 | 25.3068 | 25.5495 | 25.8143
Total large user | 29.5014 | 30.5695 | 31.1942 | 31.1097 | 31.0493 | 31.0536 | 31.2063 | 31.3892 | 31.6029 | 31.8471 | 32.1215
Total (non Shrinkage) | 129.3814 | 132.5642 | 135.1992 | 136.9101 | 137.384 | 137.6611 | 138.1052 | 138.717 | 139.4978 | 140.33 | 141.2101
Shrinkage | 0.59568 | 0.57593 | 0.63278 | 0.66308 | 0.66099 | 0.66151 | 0.65974 | 0.66231 | 0.65949 | 0.66126 | 0.65974
Total | 129.9771 | 133.1401 | 135.832 | 137.5731 | 138.045 | 138.3226 | 138.765 | 139.3793 | 140.1573 | 140.9913 | 141.8698
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
Total throughput | 130.7678 | 133.8131 | 136.2673 | 137.6911 | 138.1144 | 138.4332 | 138.9186 | 139.5738 | 140.3658 | 141.2109 | 142.0895
4.2 Annual demand forecast by load category - Scotland LDZ (TWh)
Calender year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NDM1 (0-73MWh) | 25.9924 | 26.4825 | 26.8137 | 27.1629 | 27.3143 | 27.385 | 27.4587 | 27.5699 | 27.7169 | 27.8628 | 28.0067
NDM2 (73-732MWh) | 3.9947 | 3.7236 | 3.6779 | 3.6355 | 3.602 | 3.5764 | 3.5584 | 3.548 | 3.5456 | 3.5515 | 3.5658
NDM3 (732 - 2196MWh) | 2.0971 | 2.0805 | 2.0693 | 2.0536 | 2.0428 | 2.0343 | 2.0287 | 2.0259 | 2.026 | 2.0289 | 2.0342
NDM4 (2196 - 5860MWh) | 1.3687 | 1.3579 | 1.3505 | 1.3403 | 1.3333 | 1.3277 | 1.324 | 1.3222 | 1.3222 | 1.3241 | 1.3276
Total small user | 33.4528 | 33.6445 | 33.9113 | 34.1923 | 34.2924 | 34.3235 | 34.3698 | 34.466 | 34.6107 | 34.7673 | 34.9343
NDM5 (> 5860MWh) | 2.7507 | 2.729 | 2.7143 | 2.6937 | 2.6796 | 2.6684 | 2.661 | 2.6573 | 2.6574 | 2.6613 | 2.6683
DM | 6.6578 | 7.0832 | 6.6444 | 6.6371 | 6.631 | 6.6723 | 6.8461 | 7.0338 | 7.2358 | 7.4519 | 7.6821
Total large user | 9.4085 | 9.8123 | 9.3587 | 9.3308 | 9.3106 | 9.3408 | 9.5071 | 9.6912 | 9.8933 | 10.1131 | 10.3503
Total (non Shrinkage) | 42.8613 | 43.4568 | 43.27 | 43.5231 | 43.603 | 43.6642 | 43.8769 | 44.1572 | 44.504 | 44.8804 | 45.2846
Shrinkage | 0.16248 | 0.15573 | 0.17208 | 0.17924 | 0.17825 | 0.178 | 0.178 | 0.17849 | 0.178 | 0.178 | 0.178
Total | 43.0237 | 43.6125 | 43.4421 | 43.7023 | 43.7812 | 43.8422 | 44.0549 | 44.3356 | 44.682 | 45.0584 | 45.4626
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
Total throughput | 43.1709 | 43.5699 | 43.5071 | 43.7221 | 43.7965 | 43.8954 | 44.1251 | 44.4222 | 44.7761 | 45.1595 | 45.5637
4.3 Annual demand forecast by load category - South East LDZ (TWh)
Calender year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NDM1 (0-73MWh) | 31.8577 | 33.0616 | 34.2772 | 35.4932 | 35.7701 | 35.9091 | 36.0433 | 36.2281 | 36.4642 | 36.6977 | 36.9278
NDM2 (73-732MWh) | 4.6097 | 4.6505 | 4.6474 | 4.6202 | 4.5933 | 4.5669 | 4.541 | 4.5154 | 4.4903 | 4.4656 | 4.4413
NDM3 (732 - 2196MWh) | 1.7262 | 1.7166 | 1.7121 | 1.7059 | 1.7018 | 1.699 | 1.6971 | 1.696 | 1.6958 | 1.6964 | 1.6978
NDM4 (2196 - 5860MWh) | 1.0681 | 1.0622 | 1.0594 | 1.0555 | 1.053 | 1.0513 | 1.0501 | 1.0494 | 1.0493 | 1.0496 | 1.0505
Total small user | 39.2616 | 40.4908 | 41.6961 | 42.8748 | 43.1182 | 43.2264 | 43.3315 | 43.489 | 43.6995 | 43.9093 | 44.1174
NDM5 (> 5860MWh) | 2.0895 | 2.078 | 2.0725 | 2.0649 | 2.06 | 2.0567 | 2.0543 | 2.053 | 2.0527 | 2.0534 | 2.0552
DM | 8.6389 | 8.2165 | 8.1936 | 8.164 | 8.1403 | 8.1226 | 8.1108 | 8.1049 | 8.1049 | 8.1109 | 8.1227
Total large user | 10.7284 | 10.2945 | 10.2661 | 10.2289 | 10.2003 | 10.1793 | 10.1651 | 10.1579 | 10.1576 | 10.1643 | 10.1779
Total (non Shrinkage) | 49.9901 | 50.7853 | 51.9622 | 53.1037 | 53.3185 | 53.4056 | 53.4966 | 53.6469 | 53.8571 | 54.0735 | 54.2953
Shrinkage | 0.25097 | 0.24222 | 0.26863 | 0.28404 | 0.28349 | 0.28375 | 0.28249 | 0.28353 | 0.28225 | 0.28351 | 0.28249
Total | 50.241 | 51.0275 | 52.2309 | 53.3877 | 53.602 | 53.6894 | 53.7791 | 53.9304 | 54.1394 | 54.357 | 54.5778
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
Total throughput | 50.4377 | 51.3284 | 52.5201 | 53.4413 | 53.6238 | 53.7118 | 53.8169 | 53.9826 | 54.1938 | 54.4122 | 54.633
4.4 Annual demand forecast by load category - South LDZ (TWh)
Calender year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
NDM1 (0-73MWh) | 21.6112 | 22.4672 | 23.0962 | 23.4909 | 23.7305 | 23.9045 | 24.0772 | 24.2774 | 24.5065 | 24.7371 | 24.9682
NDM2 (73-732MWh) | 3.3601 | 3.2712 | 3.2535 | 3.2275 | 3.2054 | 3.1868 | 3.1714 | 3.1593 | 3.1506 | 3.1453 | 3.1436
NDM3 (732 - 2196MWh) | 1.3913 | 1.3448 | 1.2984 | 1.2776 | 1.2606 | 1.2468 | 1.2358 | 1.2276 | 1.2223 | 1.2199 | 1.2206
NDM4 (2196 - 5860MWh) | 0.80295 | 0.77615 | 0.74935 | 0.73735 | 0.72754 | 0.71957 | 0.7132 | 0.70847 | 0.70541 | 0.70407 | 0.70447
Total small user | 27.1655 | 27.8593 | 28.3975 | 28.7333 | 28.9241 | 29.0577 | 29.1976 | 29.3728 | 29.5847 | 29.8064 | 30.0369
NDM5 (> 5860MWh) | 1.8052 | 1.745 | 1.6847 | 1.6577 | 1.6357 | 1.6178 | 1.6035 | 1.5928 | 1.5859 | 1.5829 | 1.5838
DM | 7.5593 | 8.7178 | 9.8848 | 9.8922 | 9.9028 | 9.9158 | 9.9306 | 9.9474 | 9.9661 | 9.9867 | 10.0094
Total large user | 9.3645 | 10.4628 | 11.5695 | 11.55 | 11.5385 | 11.5335 | 11.5341 | 11.5402 | 11.552 | 11.5697 | 11.5933
Total (non Shrinkage) | 36.5301 | 38.3221 | 39.967 | 40.2833 | 40.4626 | 40.5912 | 40.7316 | 40.913 | 41.1368 | 41.3761 | 41.6301
Shrinkage | 0.18223 | 0.17799 | 0.19207 | 0.1998 | 0.19925 | 0.19975 | 0.19925 | 0.2003 | 0.19925 | 0.19975 | 0.19925
Total | 36.7123 | 38.5001 | 40.1591 | 40.4831 | 40.6618 | 40.791 | 40.9309 | 41.1133 | 41.336 | 41.5758 | 41.8294
Gas supply year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
Total throughput | 37.1592 | 38.9148 | 40.2401 | 40.5278 | 40.6941 | 40.8259 | 40.9765 | 41.1689 | 41.396 | 41.6392 | 41.8928

## 5. Peak Demand Forecast tables
Peak Day Demand Forecast - tables
5.1 Peak day demand forecast - at a glance (GWh)
Gas Supply Year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
Scotland | 348.7755 | 346.7861 | 340.8292 | 338.9734 | 337.2885 | 336.4977 | 336.018 | 335.6173 | 335.333 | 335.3711 | 336.5187
South East | 443.6514 | 443.623 | 442.8002 | 441.7276 | 440.6204 | 439.664 | 438.5945 | 438.0506 | 438.794 | 439.4481 | 440.046
South East | 333.9044 | 333.4457 | 334.2847 | 334.2679 | 334.4304 | 334.633 | 334.9637 | 335.3673 | 335.9805 | 337.6131 | 339.5145
5.2 Peak day demand forecast by load category - SGN overall (GWh)
Gas Supply Year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
NDM1 (0-73MWh) | 814.5004 | 814.5004 | 813.5986 | 812.3604 | 811.1089 | 809.9413 | 808.7926 | 807.9994 | 808.4998 | 809.9109 | 812.3298
NDM2 (73-732MWh) | 100.8235 | 98.2369 | 97.692 | 96.8924 | 96.2013 | 95.6081 | 95.1059 | 94.6974 | 94.3855 | 94.1731 | 94.0632
NDM3 (732 - 2196MWh) | 32.6376 | 32.1583 | 31.7411 | 31.466 | 31.2592 | 31.0966 | 30.9748 | 30.8944 | 30.8565 | 30.861 | 30.906
NDM4 (2196 - 5860MWh) | 20.207 | 19.9207 | 19.6737 | 19.5064 | 19.3813 | 19.283 | 19.2097 | 19.1618 | 19.1398 | 19.1439 | 19.1726
NDM5 (> 5860MWh) | 41.5919 | 40.9738 | 40.4339 | 40.079 | 39.8121 | 39.6018 | 39.4444 | 39.3404 | 39.2913 | 39.2971 | 39.3552
NDM total | 1009.7603 | 1005.7902 | 1003.1393 | 1000.3042 | 997.7628 | 995.5307 | 993.5275 | 992.0934 | 992.173 | 993.386 | 995.8268
DM | 114.9518 | 116.5003 | 112.9808 | 112.8454 | 112.7683 | 113.4503 | 114.2384 | 115.1308 | 116.129 | 117.2326 | 118.4421
Total (non Shrinkage) | 1124.7121 | 1122.2905 | 1116.1201 | 1113.1497 | 1110.5311 | 1108.981 | 1107.7658 | 1107.2242 | 1108.302 | 1110.6185 | 1114.2688
Shrinkage | 1.6192 | 1.5644 | 1.7939 | 1.8192 | 1.8082 | 1.8137 | 1.8104 | 1.811 | 1.8055 | 1.8137 | 1.8104
Total | 1126.3312 | 1123.8548 | 1117.9141 | 1114.9689 | 1112.3393 | 1110.7947 | 1109.5763 | 1109.0352 | 1110.1075 | 1112.4322 | 1116.0792
5.3 Peak day demand forecast by load category - Scotland LDZ (GWh)
Gas Supply Year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
NDM1 (0-73MWh) | 245.4358 | 245.4358 | 244.7098 | 243.496 | 242.2965 | 241.1727 | 240.1875 | 239.1129 | 237.9775 | 236.989 | 236.9377
NDM2 (73-732MWh) | 32.1094 | 29.9305 | 29.5629 | 29.2225 | 28.9529 | 28.7476 | 28.6025 | 28.5193 | 28.5001 | 28.5469 | 28.6619
NDM3 (732 - 2196MWh) | 12.262 | 12.1653 | 12.0994 | 12.0079 | 11.9448 | 11.8952 | 11.8622 | 11.8456 | 11.8461 | 11.8632 | 11.8944
NDM4 (2196 - 5860MWh) | 8.0028 | 7.9397 | 7.8967 | 7.8369 | 7.7958 | 7.7634 | 7.7418 | 7.731 | 7.7314 | 7.7425 | 7.7628
NDM5 (> 5860MWh) | 16.084 | 15.9571 | 15.8707 | 15.7507 | 15.668 | 15.6029 | 15.5596 | 15.5378 | 15.5385 | 15.5609 | 15.6018
NDM total | 313.894 | 311.4285 | 310.1395 | 308.3139 | 306.658 | 305.1819 | 303.9535 | 302.7466 | 301.5936 | 300.7025 | 300.8586
DM | 34.4404 | 34.9357 | 30.2007 | 30.169 | 30.1428 | 30.8281 | 31.5755 | 32.3831 | 33.2517 | 34.181 | 35.1711
Total (non Shrinkage) | 348.3344 | 346.3642 | 340.3402 | 338.4829 | 336.8008 | 336.01 | 335.529 | 335.1297 | 334.8453 | 334.8834 | 336.0297
Shrinkage | 0.4411 | 0.42192 | 0.48901 | 0.49041 | 0.48767 | 0.48767 | 0.48901 | 0.48767 | 0.48767 | 0.48767 | 0.48901
Total | 348.7755 | 346.7861 | 340.8292 | 338.9734 | 337.2885 | 336.4977 | 336.018 | 335.6173 | 335.333 | 335.3711 | 336.5187
5.4 Peak day demand forecast by load category - South East LDZ (GWh)
Gas Supply Year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
NDM1 (0-73MWh) | 329.8747 | 329.8747 | 329.1369 | 328.5486 | 327.8753 | 327.286 | 326.5406 | 326.2677 | 327.2361 | 328.0572 | 328.7812
NDM2 (73-732MWh) | 39.9592 | 40.3125 | 40.2862 | 40.0499 | 39.8173 | 39.5884 | 39.3631 | 39.1416 | 38.9237 | 38.7095 | 38.499
NDM3 (732 - 2196MWh) | 10.6865 | 10.6274 | 10.5995 | 10.5607 | 10.5354 | 10.5185 | 10.5066 | 10.4999 | 10.4983 | 10.502 | 10.511
NDM4 (2196 - 5860MWh) | 6.6123 | 6.5758 | 6.5585 | 6.5345 | 6.5188 | 6.5084 | 6.501 | 6.4968 | 6.4959 | 6.4981 | 6.5037
NDM5 (> 5860MWh) | 12.9358 | 12.8643 | 12.8305 | 12.7836 | 12.7529 | 12.7325 | 12.7181 | 12.7099 | 12.708 | 12.7125 | 12.7234
NDM total | 400.0686 | 400.2547 | 399.4116 | 398.4772 | 397.4997 | 396.6337 | 395.6295 | 395.1159 | 395.8619 | 396.4793 | 397.0183
DM | 42.9006 | 42.7107 | 42.6249 | 42.4696 | 42.3454 | 42.2523 | 42.1903 | 42.1593 | 42.1595 | 42.1907 | 42.253
Total (non Shrinkage) | 442.9692 | 442.9655 | 442.0365 | 440.9468 | 439.8451 | 438.886 | 437.8198 | 437.2752 | 438.0214 | 438.67 | 439.2713
Shrinkage | 0.68219 | 0.65753 | 0.76373 | 0.78082 | 0.77534 | 0.77808 | 0.77472 | 0.77534 | 0.7726 | 0.77808 | 0.77472
Total | 443.6514 | 443.623 | 442.8002 | 441.7276 | 440.6204 | 439.664 | 438.5945 | 438.0506 | 438.794 | 439.4481 | 440.046
5.5 Peak day demand forecast by load category - South LDZ (GWh)
Gas Supply Year | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
NDM1 (0-73MWh) | 239.1898 | 239.1898 | 239.7518 | 240.3158 | 240.9371 | 241.4826 | 242.0646 | 242.6188 | 243.2862 | 244.8648 | 246.6109
NDM2 (73-732MWh) | 28.7548 | 27.9939 | 27.8429 | 27.6201 | 27.4311 | 27.2721 | 27.1403 | 27.0366 | 26.9617 | 26.9167 | 26.9023
NDM3 (732 - 2196MWh) | 9.6891 | 9.3656 | 9.0422 | 8.8974 | 8.779 | 8.6828 | 8.606 | 8.5489 | 8.5121 | 8.4958 | 8.5006
NDM4 (2196 - 5860MWh) | 5.5919 | 5.4052 | 5.2186 | 5.135 | 5.0667 | 5.0112 | 4.9669 | 4.9339 | 4.9126 | 4.9032 | 4.906
NDM5 (> 5860MWh) | 12.5721 | 12.1524 | 11.7327 | 11.5448 | 11.3912 | 11.2664 | 11.1668 | 11.0927 | 11.0448 | 11.0237 | 11.03
NDM total | 295.7977 | 294.107 | 293.5882 | 293.5131 | 293.6051 | 293.7152 | 293.9445 | 294.2309 | 294.7175 | 296.2043 | 297.9499
DM | 37.6108 | 38.8538 | 40.1553 | 40.2068 | 40.2801 | 40.3699 | 40.4726 | 40.5884 | 40.7178 | 40.8609 | 41.0179
Total (non Shrinkage) | 333.4085 | 332.9608 | 333.7435 | 333.7199 | 333.8852 | 334.085 | 334.417 | 334.8193 | 335.4353 | 337.0651 | 338.9678
Shrinkage | 0.49589 | 0.48493 | 0.5412 | 0.54795 | 0.54521 | 0.54795 | 0.5467 | 0.54795 | 0.54521 | 0.54795 | 0.5467
Total | 333.9044 | 333.4457 | 334.2847 | 334.2679 | 334.4304 | 334.633 | 334.9637 | 335.3673 | 335.9805 | 337.6131 | 339.5145

## 6. Actual Annual Demand flows
Actual Annual Demand Flows
6.1 Annual demand for 2025 (TWh) – Scotland LDZ
Column1 | Actual Demand | WCD | 2025 LTDS forecast demand
0-73MWh | 23.3557 | 25.9924 | 26.9491
73-5860MWh | 6.6832 | 7.4604 | 8.0287
>5860 firm | 8.8937 | 9.4085 | 10.6238
Total LDZs | 40.5062 | 42.8613 | 45.6016
Shrinkage | 0.14862 | 0.16248 | 0.16248
Total Throughput | 40.6548 | 43.0237 | 45.7641
6.2 Annual demand for 2025 (TWh) – South East LDZ
Column1 | Actual Demand | WCD | 2025 LTDS forecast demand
0-73MWh | 29.7036 | 31.8577 | 33.8194
73-5860MWh | 6.8927 | 7.404 | 7.9402
>5860 firm | 10.5297 | 10.7284 | 10.2476
Total LDZs | 48.041 | 49.9901 | 52.0071
Shrinkage | 0.22837 | 0.25097 | 0.25097
Total Throughput | 48.2694 | 50.241 | 52.2581
6.3 Annual demand for 2025 (TWh) – South LDZ
Column1 | Actual Demand | WCD | 2025 LTDS forecast demand
0-73.2 | 19.5911 | 21.6112 | 22.3803
73-5860 | 5.0247 | 5.5543 | 5.7764
>5860 firm | 9.0935 | 9.3645 | 11.6355
Total LDZs | 34.9043 | 36.5301 | 39.7922
Shrinkage | 0.16796 | 0.18223 | 0.18223
Total Throughput | 35.0722 | 36.7123 | 39.9744

## 7. Winter Severity Statistics
Winter Severity Statistics
7.1 '1 in X' winter severities per LDZ
LDZ | 1 in X
Scotland | 6_warm
South East | 11_warm
South | 14_warm
National | 10_warm
Sourced from the April 2026 NESOS's Winter Severity Report 2025/26
These statistics reflect the gas industry's definition of winter as October to March.
Winters are classified as warm, cold, or average, with the '1 in X' metric indicating how extreme the conditions are compared to the norm.

## 8. Maximum and Minimum Flows
Maximum and Minimum Flows
8.1 Maximum and minimum flows - actual day demand (gas year 2025/2026)
LDZ | Maximum day 2025/26 | Minimum day 2025/26
Scotland | 23.16 mscm/d (1/1/26) | 3.62 mscm/d (18/7/26)
South East | 30.87 mscm/d (6/1/26) | 3.32 mscm/d (29/7/26)
South | 21.95 mscm/d (5/1/26) | 3.20 mscm/d (11/7/26)
8.2 Maximum and minimum flows - % of a peak day demand forecast (gas year 2025/2026)
LDZ | Forecast peak day | Actual maximum peak day | Actual minimum peak day
Scotland | 32.65 mscm/d | 70.93% | 11.09%
South East | 41.56 mscm/d | 74.28% | 7.99%
South | 31.6 mscm/d | 69.46% | 10.13%

## 9. Portfolio of Biomethane
Portfolio of Biomethane Sites
9.1 Portfolio of Biomethane sites as of end September 2026
LDZ | Total Sites Connected | Firm Entry Capacity (MWh) | Equivalent number of domestic customers
Scotland | 27 | 295.4 | 275855
South | 13 | 210.7 | 193682
South East | 8 | 64.1 | 59845
Total | 48 | 570.2 | 529382
The table above shows the total number of biomethane sites connected to our networks, their contracted capacity, and the estimated number of domestic customers they could supply - based on Ofgem’s average annual consumption of 9,500 kWh.
22 projects are currently in various stages of development and are scheduled to connect to the network at various stages throughout RIIO GD3.

## 10. Major Projects <7bar
Major Projects <7bar
Tables below provide an overview of major projects with a pressure level of less than 7bar that align with the planning horizon discussed in 2026 LTDS.
Major Projects are works estimated to cost up to and in excess of £500,000.
Projects under construction
10.1 <7 Bar Major Projects under construction in Scotland LDZ
Project | Build year | Project scope
Great Western Road, Glasgow | 2026/27 | Uprating 4.5km of MP mains & installation of 3x DPG & 400m of inlet/outlet mains and associated works.
A96, Raigmore, Inverness | 2026/27 | 335mm x 615m MP PE
10.2 <7 Bar Major Projects under construction in South LDZ
Project | Build year | Project scope
None | n/a | n/a
10.3 <7 Bar Major Projects under construction in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects under consideration
10.4 <7 Bar Major Projects under consideration in Scotland LDZ
Project | Build year | Project scope
Aberlady - Gullane (Phase 1) | 2027/28 | 446m x 315mm PE MP
10.5 <7 Bar Major Projects under consideration in South LDZ
Project | Build year | Project scope
Hithercroft Road, Wallingford, OX10 9GQ | 2027/28 | 2.4km x 250mm MP PE and abandonment of 2.3km x 6" SI MP
10.6 <7 Bar Major Projects under consideration in South East LDZ
Project | Build year | Project scope
Mitcham Common IP MP CGS | 2027/28 | Replacement of Distribution Pressure Governor
Projects with low probability of progressing
10.7 <7 Bar Major Projects with a low probability of progressing
Project | Build year | Project scope
Tranent IP - Phase 2 | 2027/28 | 2.4km x 315mm HDPE IP

## 11. Major Projects >7bar
Major Projects >7bar
Tables below provide an overview of major projects with a pressure level of more than 7bar that align with the planning horizon discussed in 2026 LTDS.
Major Projects are works estimated to cost up to and in excess of £500,000.
Projects under construction
11.1 >7 Bar Major Projects under construction in Scotland LDZ
Project | Build year | Project scope
None | n/a | n/a
11.2 >7 Bar Major Projects under construction in South LDZ
Project | Build year | Project scope
None | n/a | n/a
11.3 >7 Bar Major Projects under construction in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects under consideration
11.4 >7 Bar Major Projects under consideration in Scotland LDZ
Project | Build year | Project scope
None | n/a | n/a
11.5 >7 Bar Major Projects under consideration in South LDZ
Project | Build year | Project scope
None | n/a | n/a
11.6 >7 Bar Major Projects under consideration in South East LDZ
Project | Build year | Project scope
None | n/a | n/a
Projects with low probability of progressing
11.7 >7 Bar Major Projects with a low probability of progressing
Project | Build year | Project scope
None | n/a | n/a